# PEASEWAY MEDICAL CENTRE

DISABILITY DISCRIMINATION ACT (DDA) COMPLIANCE AUDIT AND RISK ASSESSMENT

INTRODUCTION

This document provides the basis for the Practice in assessing the needs of its disabled patients, or those with mobility or other requirements to ensure that their access to services is, as far as practicable, maximised.

New Patients

The Practice website will contain a section for those patients with a disability outlining the facilities available at the Practice and their ease of access to the building based on the findings of the Access Audit (below).

Disabled patients will be advised on new registration that they will be provided assistance, if required, to access the building or its services. Staff will be trained in the appropriate way to help with wheelchairs, partially or non-sighted patients, or those with other special needs.

If required, Clinical staff will assist patients attending for appointments, including collecting them from the waiting area and escorting them to their consultation as appropriate. Patients requiring such assistance this will have an alert message placed on the clinical system record.

Training and Skills

The Practice will support staff wishing to attend signing courses, disability awareness, or patient handling training. The Practice will seek to have a member of staff on hand with these skills as far as practicable.

Patient Facilities

The Practice will:

- Provide large font Practice leaflets (if requested)

- Ensure signage is clear and non-obstructive

- Provide a clearly marked and wider disabled parking bay(s)

- Allow guide or other assistance dogs into the premises

- Offer private room facilities for patients who may have communication, reading, or writing difficulties

- Allow disabled patients to make appointments by unusual methods, e.g. on line booking, or letter. The Practice will respond to these requests using the method most appropriate to the needs of the patient.

Checking and Recording

The Practice will audit its facilities on an annual basis or following any significant changes to the premises (see below).

The results will be recorded on our surgery intranet and the information documented will contain a summary report of the access facilities available to disabled patients.

RESOURCES

Equal Opportunities Commission

Employers and Service Providers - The DRC

DH Access Audit Checklist

http://www.dh.gov.uk

The Access Checklist starts on the next page >>>

Access Checklist: Questions below based on an affirmative answer being the desired situation

| Name of Practice | Peaseway Medical Centre |
| --- | --- |
| Type of Building | GP surgery |
| Address | 2 Peaseway, Newton Aycliffe, DL5 5NB |
| Other Occupants |  |
| Inspected by: | K Stokoe |
| Original Inspection date: | 18th June 2019 |

Parking

| Is there a patient car park? | Yes |
| --- | --- |
| Total parking spaces | 37 |
| Total Designated Disabled Spaces | 2 |
| Are designated spaces at least 5% of the total spaces? | Yes |
| Are designated spaces at least 2.5m wide plus 1.2m adjacent space (which may be shared with the next bay) | Yes Disabled bays are marked. |
| Is the route from the designated space to the building obstacle free? | Yes |
| Does the route to the building have dropped curbs? | Yes |
| Is the route to the building at least 1200mm wide? | Yes |
| Additional Comments relating to Parking |  |

Building entry and surrounding areas

| Is the approach flat without a step, or ramped? | Yes |
| --- | --- |
| Is the door width at least 750mm | Yes |
| Is there an automatic opening facility on the door or the means to call for assistance? | Yes – automatic doors |
| Is there a sign in clear print to identify the building? | Yes |
| Does any ramp have: a non-slip surface width at least 1metre top and bottom landing with at least 1.2m clear length raised kerbs at least 100mm high a continuous handrail on both sides if the ramp exceeds 2m long a handrail 900mm above the ramp and 1m above the landing handrail with a closed end(s) | N/A |
| Does the entry door have: 800mm clear opening width 300mm leading edge clearance Vision panel from 900mm to 1500mm height A level threshold A door control 1m above the floor Revolving doors? A lobby between double doors with clear wheelchair space | Yes Yes Yes Yes N/A Automatic doors in place No revolving doors Yes |
| Does signage have: Clear contrasting colours The name of the building and / or services Have a clear font Have mixed upper and lower case characters Use characters at least 60mm high (capitals) Sufficient illumination (natural or otherwise) Suitable location (e.g. not too high up) | Yes Yes Yes Yes Yes Yes Yes |

| Are there external steps to the building? | No |
| --- | --- |
| If YES do they have: None slip surfaces Minimum width 1 metre Minimum 1.2m between landings Landings clear of swinging doors A uniform rise in the steps A handrail on both sides if more than 2 steps | N/A |
| Are there Handrails? | No |
| If YES do they have: A height of 900mm above the step surface A height of 1m above the landing surface A handrail which extends 300mm beyond the top and bottom of the steps A handrail which has closed ends A handrail of 45 – 50mm in diameter A handrail which projects 45mm from the wall | N/A |
| Is the pavement outside free from potholes/uneven paving? | Yes |
| Are all paths free from obstructions such as litter bins? | Yes |
| Is the area kept free from ice and snow? | Yes – independent contractor checks temperature daily during winter months and if necessary grits the car park and pavement before surgery opening |
| Is there adequate external lighting? | Yes |
| Is there a safe place to cross the road near to the premises? | Yes |

Reception Area

| Is there a Reception sign? Is it in clear font and visible to wheelchair users? | Yes Yes |
| --- | --- |
| Does the reception desk have a surface < 800 high? | No |
| Is there an induction loop? Are Loop signs clearly displayed? | No No |
| Is there a portable induction loop? | No |
| Is there a 400mm reception desk overhang? | No |
| Is the lowest part of the desk at least 900mm wide? | Yes |
| Is there an area in the waiting room suitable for use by wheelchair users? | yes |

Building Accessibility

| Are doors 750mm wide minimum? | Yes |
| --- | --- |
| Is a lift or ramp available where the building is not on one level? | Yes – Lift available Emergency call points and evacuation equipment in the event of lift failure |
| Is any ramp <= 1:12 gradient? Does it comply with the requirements above? | N/A |

| Is there a lift? | YES |
| --- | --- |
| If yes, does it: Have a clear 1500 x 1500 landing in front of the doors? Have doors with a clear opening width of 800mm Have a car space of min. 1100 wide x 1400 long? Have a control panel < 1200mm high? Have a control panel >400mm from the front wall? Identify which floor the car is on? Have a min. 5 second delay on the door opening to closing? Give a mi. 5 second warning that the lift is arriving? | Yes to all questions |

Toilets

| If there are public toilets: Is there a disabled toilet or one which; Has a min size of 1400 x 1750mm? Have a door of >750mm width? Have grabrails for side or forward weight transfer? Are the grab rails secured? | Yes Yes Yes Yes Yes |
| --- | --- |

Items Required Attention / Recommendations

Nothing to date.